## Summary PPP Form 1
NATIONAL ELECTRIC POWER REGULATORY AUTHORITY (NEPRA) | [14 empty] | Form # - PPP 1
Summary of Projected Power Purchase Price of CPPA Pool
FY _________________
# | Particulars | Unit | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
1 | Units Delivered to DISCOs and KESC | GWh
2 | Fuel Cost Component | Rs. in Millions
3 | Variable O&M | Rs. in Millions
4 | Capacity Charge | Rs. in Millions
5 | Transmission Charge (UOSC) | Rs. in Millions
6 | Total Power Purchase Price (2+3+4+5) | Rs. in Millions
7 | Fuel Cost Component (Row 2 / Row 1) | Rs./kWh
8 | Variable O&M (Row 3 / Row 1) | Rs./kWh
9 | Capacity Charge (Row 4 / Row 1) | Rs./kWh
10 | Transmission Charge (UOSC) (Row 5 / Row 1) | Rs./kWh
11 | Total Power Purchase Price (7+8+9+10) | Rs./kWh

## Fuel Price PPP Form 2
NATIONAL ELECTRIC POWER REGULATORY AUTHORITY (NEPRA) | [8 empty] | Form # - PPP 2
Assumptions for Fuel Prices for Projected Power Purchase Cost
FY __________________________
1 | HSFO Price Assumption
The data of actual cost of HSFO on a fortnightly basis in the last Financial year is obtained from the website of PSO. Freight is added in the cost. This cost is in Rs. /M.ton and is converted to $/M.ton by using the actual exchange rate. This cost is then prorated to next year on the basis of projected exchange rate for the next financial year.
|  | Import Oil prices |  |  | Exchange rate-actual | Import Oil Price | Projected Months of FY 20X2-X3 | Import Oil prices-Projection
| Actual Months of previous financial year 20X1-20X2 | Ex-GST / Ex-Freight | Freight cost | Ex-GST final cost |  |  |  | Imported oil price | Projected exchnage rate | Ex-GST final cost
|  | Rs./M. Ton | Rs./M. Ton | Rs./M. Ton | Rs/$ | $ |  | $ / M. Ton | Rs./M. Ton | Rs./M. Ton
|  | a | b | c = a + b | d | e = c/d |  | f | g | h = f * g
| 1st Jul, 20X1 | [5 empty] | 1st Jul, 20X2
| 16th Jul, 20X1 | [5 empty] | 16th Jul, 20X2
| 1st Aug, 20X1 | [5 empty] | 1st Aug, 20X2
| 16th Aug, 20X1 | [5 empty] | 16th Aug, 20X2
| 1st Sep, 20X1 | [5 empty] | 1st Sep, 20X2
| 16th Sep, 20X1 | [5 empty] | 16th Sep, 20X2
| 1st Oct, 20X1 | [5 empty] | 1st Oct, 20X2
| 16th Oct, 20X1 | [5 empty] | 16th Oct, 20X2
| 1st Nov, 20X1 | [5 empty] | 1st Nov, 20X2
| 16th Nov, 20X1 | [5 empty] | 16th Nov, 20X2
| 1st Dec, 20X1 | [5 empty] | 1st Dec, 20X2
| 16th Dec, 20X1 | [5 empty] | 16th Dec, 20X2
| 1st Jan, 20X2 | [5 empty] | 1st Jan, 20X3
| 16th Jan, 20X2 | [5 empty] | 16th Jan, 20X3
| 1st Feb, 20X2 | [5 empty] | 1st Feb, 20X3
| 16th Feb, 20X2 | [5 empty] | 16th Feb, 20X3
| 1st Mar, 20X2 | [5 empty] | 1st Mar, 20X3
| 16th Mar, 20X2 | [5 empty] | 16th Mar, 20X3
| 1st Apr, 20X2 | [5 empty] | 1st Apr, 20X3
| 16th Apr, 20X2 | [5 empty] | 16th Apr, 20X3
| 1st May, 20X2 | [5 empty] | 1st May, 20X3
| 16th May, 20X2 | [5 empty] | 16th May, 20X3
| 1st Jun, 20X2 | [5 empty] | 1st Jun, 20X3
| 16th Jun, 20X2 | [5 empty] | 16th Jun, 20X3
| Month | Total HSFO Market price
Rs./Ton
i = average of each fortnight in column h
Jul, 20X2
Aug, 20X2
Sep, 20X2
Oct, 20X2
Nov, 20X2
Dec, 20X2
Jan, 20X3
Feb, 20X3
Mar, 20X3
Apr, 20X3
May, 20X3
Jun, 20X3
2. HSD Price Assumption
The data of actual cost of HSD is obtained from the website of PSO for the latest months. This cost is then prorated to the next year.
| Months | Projected Cost for FY20X1-X2 | Actual Cost for FY 20X1-X2 | Projected Cost for FY20X2 - X3
|  | Rs./Ton | Rs./Ton | Rs./Ton
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Average
3 | Gas Price Assumption
The Gas price last year increased by _______in __________, therefore an increase of _______is assumed from __________:
|  | Descripton | Actual____ | w.e.f. ____ | Increase %
Rs/MMBTU
GENCOs
IPPs

## Capacity Cost PPP Form 3
NATIONAL ELECTRIC POWER REGULATORY AUTHORITY (NEPRA) | [8 empty] | Form # - PPP 3
Assumptions for Capacity Cost for Projected Power Purchase Cost
FY __________________________
Capacity charges have been projected after analysing the variation in the factors by which capacity charge tariff is increased:
1 | WAPDA Hydel: |  | Actual Capacity charge taken and applied on the Dependable Capacity, however, any new petition of WAPDA hydel is taken into account.
2 | Other Hydel plants: |  | Actual capacitry charge paid in last year is assumed
3 | GENCO-I, II and III: |  | Actual capacitry charge paid in last year is assumed
4 | GENCO-IV: | The Capacity charge is assumed to be actual per month expense in FY ___________.
5 | 1994 policy IPPs | The Capacity charge factor is calculated and applied on actual capacity for each IPP. The factor is calculated as below;
| Name of Power Producer | Capacity MW | Date of Financial Close | Ref: Capacity Charges |  | Escalation Factor |  | Revised Capacity Charges Rs./kW/Month
|  | Capacity MW |  | Escalable Rs./kW/Month | Non-escalable Rs./kW/Month | on COD | Current | Escalable | Non-escalable | Total
Liberty(C.C.)
Habibullah
Fauji
Uch (C.C.)
Kapco
Rousch
Hubco
KEL
SEPCO
Japan
Saba
AES Lalpir
AES Pak Gen
6 | CHASNUPP I | Actual Capacity charge is taken as per the latest tariff determination.
7 | CHASNUPP II | Actual Capacity charge is taken as per the latest tariff determination.
8 | IPPs: | Actual Capacity charge w.e.f July 1, ______is taken and applied on Dep. Capacity. Then for each quarter, the movement in Actual capcity charge durng the FY _____is calculated and the Average movement per quarter percentage is appled to determne the CPP per kw/h for each quarter as below:
|  | Last Year |  |  |  | Projected Year
| IPP | July-Sep | Oct-Dec | Jan-Mar | Apr-Jun | Jul-Sep | Oct-Dec | Jan-Mar | Apr-Jun
CPP in Rs/kW/Hour
Attock Gen
% Change
Atlas Power
% Change
Nishat Power
% Change
Orient Power
% Change
Nishat Chunian
% Change
Average Movement in %
9 | Other relevant assumptions
Exchange Rate (Rs. / USD
US CPI
Local CPI
3 Monthly LIBOR
3 Monthly KIBOR
Hours in the Quarter
Average Exchange Rate, CPI and WPI

## VOM PPP Form 4
NATIONAL ELECTRIC POWER REGULATORY AUTHORITY (NEPRA) | [8 empty] | Form # - PPP 4
Assumptions for Varialbe O&M Cost (part of energy charge)
FY __________________________
1 | Energy distribution in FY __________among DISCOs has been allocated in the same proportion as that of FY ____________.
2 | load factors in FY ___________has been worked out as per the "NTDC demand forecast Report _______".
3 | Transmission charges:
Transmission charges have been calculated @ Rs. _________/kW/Month of peak demand of each DISCO in the FY _____________ as per the latest tariff determination of NTDC
4 | Energy Charge- Variable O&M
Variable O&M charges have been projected after analysing the variation in the factors by which Variable charge tariff is increased:
i | WAPDA Hydel: | Actual Variable charge taken and applied on the Energy Generated in GWh, however, any new tariff petition of WAPDA is taken into account.
ii | Other Hydel plants: | Actual Variable charge taken and applied on the Energy Generated in GWh.
iii | GENCO-I: | As per the Order of Authority, the Variable O&M of GENCO-I is subject to adjustment on Bi-Annual basis. Actual Variable charge w.e.f July 1, _____is taken and applied on Energy generated. Then Jan onwards, ______ the variable charge is enhanced by actual movement in this Component of enercgy charge as below:
|  | Month |  | Variable O&M in Rs/kWh
|  | July,____ to Dec, _____ |  | 0
|  | Jan, ____to June, ______ |  | 0
|  | Factor |  | Jan-June ____ | July-Dec ___ | Jan-June ____ | July-Dec ____ | Jan-Jun ____
Variable O&M in Rs/kWhof Genco-I
Movement in Var-O&M
Average Movement in Var-O&M
iv | GENCO-II, III: | As per the Order of Authority, the Variable O&M of GENCO-II and III is not subject to adjustment. Adjustment will be made only when the GENCOs apply for new tariff. Therefore, no adjustment in O&M is assumed for the FY 2011-12.
|  | GENCO | Variable O&M in Rs/kWh
GENCO-II
GENCO-III
v | GENCO-IV: | The Variable charge is as per the latest valid tariff determination
|  | GENCO | Variable O&M in Rs/kWh
GENCO-IV
vi | 1994 policy IPPs | The Variable charge component of these IPPS is revised on a bi-annual basis. Therefore, for first six months of financial year, the actual cost as per CPPA data is taken and for the next 6 months, the charge is assumed to increase based on the percentage increase in last year.
| Name of Power Producer | Actual O&M Jan to June, 20X2 | Actual O&M July to Dec, 20X1 | Increase in 6 months | Actual O&M July, 20X2 to Dec, 20X2 | Projected O&M from Jan, 20X3 to June, 20X3
|  | a | b | c = b/a | d | e = d x (1+c)
Liberty(C.C.)
Habibullah
Fauji
Uch (C.C.)
Kapco - I ( F.O)
Kapco - I ( Gas)
Kapco - I ( HSD)
Kapco - II ( F.O)
Kapco - II ( Gas)
Kapco - II ( HSD)
Kapco - III ( Gas)
Kapco - III ( HSD)
Rousch
Hubco
KEL
SEPCO
Japan
Saba
AES Lalpir
AES Pak Gen
Chashnup
Davis
Altern
Northern
Zorlu
vii | 2002 policy IPPs: | Actual Variable charge w.e.f July 1, ______is calculated as below and applied on Generation. Then for each quarter, the movement in Actual Variable charge durng the FY ______is calculated and the Average movement per quarter percentage is appled to determine the Variable O&M per kwh for each quarter as below:
| Sr. No. | Ref. Exchange Rate | Ref. US CPI | Ref. CPI general local | Ref. Variable O&M |  | Ref. Fixed O&M |  | July-Sep, 2013 US CPI | July-Sep, 2013 CPI general | Revised Exchange Rate | New Variable O&M |  |  | New Fixed O&M |  |  | New
[5 empty] | Foreign | Local | Foreign | Local |  |  |  | Foreign | Local | Total | Foreign | Local | Total
[5 empty] | Rs./kWh |  | Rs./kW/Hr. |  |  |  |  | Rs./kWh |  |  | Rs./kW/Hr. |  |  | FY 13-14
Nishat Power
Nishat Chunian Power
Atlas Power
Attock Power
Liberty Power
Hub Power
Bestway Power
Gujranwala Energy
Japan Power
Grange Power
Star
Saif (gas)
Saif (hsd)
Sapphire (gas)
Sapphire (hsd)
Hallmore (gas)
Hallmore (hsd)
Green Electric
Uch II
Foundation
Engro
Orient (gas)
Orient (hsd)
HUBCO-Narowal
Indexation
|  |  | Last Year |  |  |  | Projected Year
|  | IPP | July-Sep | Oct-Dec | Jan-Mar | Apr-Jun | Jul-Sep | Oct-Dec | Jan-Mar
Attock Gen
% Change
Atlas Power
% Change
Nishat Power
% Change
Orient Power
% Change
Nishat Chunian
% Change
Average % Change
Note on C66: uzma: Adjusted wth COD tariff
Note on C87: uzma: Revised after COD
Note on G32: NEPRA: based on actual data of july, 2013 and aug, 2013

## UOSC PPP Form 5
NATIONAL ELECTRIC POWER REGULATORY AUTHORITY (NEPRA) | [8 empty] | Form # - PPP 5
Assumptions for Use of system charge
FY __________________________
1 | The use of system charge is taken in Rs. /kW/ month based on the latest tariff determination of NTDC.
2 | This charge is applied on the Maximum Demand of each DISCO computed in MW. For this purpose, three previous years data of actual Purchase of Power and load factor is taken.
3 | The power purcahse is converted to Maximum demand on the basis of the following formula:
Maximum Demand = Power Purchase in MWh / (31 x 24) / actual load factor in %
4 | LOAD FACTOR | Actual Load factor in previous financial year is taken
| Name | July | August | September | October | November | December | January | February | March | April | May | June | Average
IESCO
LESCO
GEPCO
FESCO
MEPCO
PESCO
TESCO
HESCO
QESCO
SEPCO
DISCOs other than KESC
KESC
DISCOs including KESC
5 | PURCHASE OF POWER | Actual Load factor in previous financial year is taken August: Projected Power purchase for the next financial year is taken
| Name | July | August | September | October | November | December | January | February | March | April | May | June | Average
IESCO
LESCO
GEPCO
FESCO
MEPCO
PESCO
TESCO
HESCO
QESCO
SEPCO
DISCOs other than KESC
KESC
DISCOs including KESC
6 | MAXIMUM DEMAND | Projected Power purchase for the next financial year is taken August: Maximum demand is computed for each DISCO per month based on the following formula;
Maximum Demand = Power Purchase in MWh / (31 x 24) / actual load factor in %
7 | USE OF SYSTEM CHARGE | Projected Power purchase for the next financial year is taken August: Use of system charge is computed by multiplying the maximum demand each month with the factor as per NTDC determination

## Gen. GWh PPP Form 6
NATIONAL ELECTRIC POWER REGULATORY AUTHORITY (NEPRA) | [8 empty] | Form # - PPP 6
Assumptions for Generation for Projected Power Purchase Cost
FY __________________________
Generation has been projected for each unit based on historical actual generation in last three financial years. This is duly adjusted by other factors as below;
1 | WAPDA Hydel: |  | While projecting generation for FY ____ last five-years trend has been kept in view. The total generation is then sub-divided into months based on actual month-wise data
| Sr.No. | Hydel Power Station | Installed Capacity | Actual Net Electrical Output (GWh) |  |  |  |  | Projected | Budgeted by WAPDA
|  |  | MW | 2007-08 (Actual) | 2008-09 (Actual) | 2009-10 (Actual) | 2010-11 (Actual) | 2011-12 (Actual) | 2012-13 (Provisional) | 2013-14
| 1 | Tarbela | 3478
| 2 | Ghazi Brotha | 1450
| 3 | Mangla | 1000
| 4 | Warsak | 243
| 5 | Chashma | 184
| 6 | Jinnah HPP | 96
| 7 | Khan Khawar | 72
| 8 | Allai Khawar | 121
| 9 | Duber Khawar | 130
| 10 | Gomal Zam | 17.4
| 11 | Jabban | 22
| 12 | Rasul | 22
| 13 | Dargai | 20
| 14 | Nandipur | 14
| 15 | Shadiwal | 14
| 16 | Chichoki | 13
| 17 | Kuram Garhi | 4
| 18 | Renala Khurd | 1
| 19 | Chitral | 1
|  | Total | 6902.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Month | 2013 (GWh) | 2012 (GWh) | 2011 (GWh) | 2010 (GWh) | Average for three years (GWh) | month-wise generation as a % of total
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Total
2 | Jagran, Pehur, Malakand -III and Laraib |  |  | While projecting generation for FY _____ previous three-years trend has been kept in view.
| Month | 2013 (GWh) | 2012 (GWh) | 2011 (GWh) | 2010 (GWh)
July
August
September
October
November
December
January
February
March
April
May
June
Total
3 | GENCO-I, II and III: |  | While projecting generation for FY ___ previous three years month-wise trend has been kept in view. And generation for FY _______ is taken as Average of last two years actual generation. The projection is done for each block separately.
4 | KAPCO |  | While projecting generation for FY ___ previous three years month-wise trend has been kept in view. And generation for FY _______ is taken as Average of previous three years actual generation. The projection is done for each block separately.
5 | IPPs |  | For projection of generation from IPPs analysis is done of generation in previous three years with Plant Factors and a trend is observed. Based on the average plant factor the generation is projected for next financial year;
|  |  |  | Actual 20X0 |  | Actual 20X1 |  | Actual 20X2 |  | Projected finacial year
| IPP | Fuel type | Capacity (MW) | Generation (GWh) | Plant Factor | Generation (GWh) | Plant Factor | Generation (GWh) | Plant Factor | Projected P.F. | Generation (GWh)
| Hub Power | F.O. | [8 empty] | 0
| Kohinoor Energy | F.O. | [8 empty] | 0
| AES Lalpir | F.O. | [8 empty] | 0
| AES Pakgen | F.O. | [8 empty] | 0
| Southern Power | F.O. | [8 empty] | 0
| Habibullah | Gas | [8 empty] | 0
| Fauji Kabirwala | Gas | [8 empty] | 0
| Rousch | Gas | [8 empty] | 0
| Saba Power | F.O. | [8 empty] | 0
| Japan Power | F.O. | [8 empty] | 0
| Uch | Gas | [8 empty] | 0
| Altern | Gas | [8 empty] | 0
| Liberty | Gas | [8 empty] | 0
| Chashma-I | Nuclear | [8 empty] | 0
| Chashma-II | Nuclear | [8 empty] | 0
| Tavanir Iran | Import | [8 empty] | 0
| Attock Gen. | F.O. | [8 empty] | 0
| Atlas Power | F.O. | [8 empty] | 0
| Nishat Power | F.O. | [8 empty] | 0
| Foundation | Gas | [8 empty] | 0
| Orient Power | Gas | [8 empty] | 0
|  | HSD | [8 empty] | 0
| Nishat Chunia | F.O. | [8 empty] | 0
| Saif Power | Gas | [8 empty] | 0
|  | HSD | [8 empty] | 0
| Engro | Gas | [8 empty] | 0
0
| Sapphire Power | Gas | [8 empty] | 0
|  | HSD | [8 empty] | 0
| Hallmore | Gas | [8 empty] | 0
|  | HSD | [8 empty] | 0
| Hubco Narowal | F.O. | [8 empty] | 0
| Liberty | F.O. | [8 empty] | 0
| Davis energen | Gas | [8 empty] | 0
| Total | [9 empty] | 0
6 | OTHERS | Generaton of TPS Quetta, TPS Shahadra, SPPs and Zorlu is assumed to be equal to the generation for Last financial year
7 | Any new plants to be added in each generation category in the next financial year are also incorporated based on dependeable capacity and plant factor of similar plants.

## Gen. GWh PPP Form 7
NATIONAL ELECTRIC POWER REGULATORY AUTHORITY (NEPRA) | [13 empty] | Form # - PPP 7
SUMMARY OF PROJECTED GENERATION PLAN
FY ______________
The generation as per assumptions in form 6 are then compiled in this form
GWh
Power Producer | Fuel | Assumptions | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
Hydroelectric | Hydel
Tarbela | Hydel
Mangla | Hydel
Warsak | Hydel
Chashma | Hydel
Ghazi Brotha | Hydel
Jagran Hydel | Hydel
Malakund-III SHYDO | Hydel
Pehur | Hydel
Khan Khawar | Hydel
Gomal Zam Dam, | Hydel | Click here
Laraib | Hydel
Satpara Dam | Hydel
Duber Khwar | Hydel
Allai Khwar | Hydel
Jihhah Hydropower | Hydel
Hydel Total
|  |  | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
Ex-WAPDA GENCOs
GENCO-1
Jamshoro Block 1 | F.O. | Click here
Unit 1 | Gas
Jamshoro Block 2 | F.O.
Unit 2-4 | Gas
Jamshoro Block 3 | F.O.
Kotry 3-7 | Gas
Jamshoro Block 4 | F.O.
Kotry 1-2 | Gas
Jamshoro Total
GENCO-II |  |  | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
Central Block 1 | F.O. | Click here
Guddu CC 11-13 | Gas
Central Block 2 | F.O.
Guddu CC 5-10 | Gas
Central Block 3 | F.O.
Guddu Steam 3-4 | Gas
Central Block 4 | F.O.
Guddu Steam 1-2 | Gas
Central Total
GENCO-III
Northern Block 1 | F.O. | Click here
MG Unit 1-3 | Gas
Northern Block 2 | F.O.
MG Unit 4 | Gas
Northern Block 3 | F.O.
MG Unit 5-6 | Gas
Northern Block 4 | F.O.
GTPS FSD 5-9 | Gas
HSD
Northern Block 5 | F.O.
SPS FSD 1-2 | Gas
Northern Block 6 | HSD
GTPS FSD 1-4 | Gas
HSD
Northern Block 7 | F.O.
NGPS Multan 1-4 | Gas
Northern Block 8 | F.O.
Northern Toal
GENCO IV |  |  | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
Lakhra Power | Coal | Click here
GENCO IV TOTAL
GENCOs Total
IPPs
Kot Addu Block 1 | F.O. | Click here
Gas
HSD
Kot Addu Block 2 | F.O.
Gas
HSD
Kot Addu Block 3 | Gas
HSD
Kot Addu Total
Hub Power | F.O. | Click here
Kohinoor Energy | F.O.
AES Lalpir | F.O.
AES Pakgen | F.O.
Southern Power | F.O.
Habibullah | Gas
Fauji Kabirwala | Gas
Rousch | Gas
Saba Power | F.O.
Japan Power | F.O.
Uch | Gas
Altern | Gas
Liberty | Gas
F.O.
Chashma Nuclear | Nuclear
Chashma Nuclear-II | Nuclear
Tavanir Iran | Import
Attock Gen. | F.O.
Atlas Power | F.O.
Nishat Power | F.O.
Foundation | Gas
Orient Power | Gas
" | HSD
Nishat Chunia | F.O.
Saif Power | Gas
HSD
Engro | Gas
Sapphire Power | Gas
HSD
Hallmore | Gas
HSD
Hubco Narowal | F.O.
IPPs Total
Others |  |  | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
TPS-Quetta | Gas | Click here
TPS-Shahdara | Gas
SPPs | Mixed
Zorlu | Wind
Others Total
Grand Total
Hydel
Coal
HSD
F.O.
Gas
Nuclear
Mixed
Import from Iran
Wind Power
Grand Total
NTDC Losses
Net Delivered
NTDC Losses %

## NEW cAPACITY (hidden)
Annex-I
NEW CAPACITY ADDITION
Description | Dependable Capacity | 2009-07-09 | 2009-08-09 | 2009-09-09 | 2009-10-09 | 2009-11-09 | 2009-12-09 | 2010-01-09 | February Generation | 2010-03-09 | 2010-04-09 | 2010-05-09 | 2010-06-09 | Total
| MW | [7 empty] | GWh
GAS
RPPs:
Naudero | 51 | 0 | 0 | 0 | 0 | 0 |  | 22 | 22 | 22 | 22 | 22 | 22 | 132
TPS Guddu | 110 | 0 | 0 | 0 | 0 | 0 |  | 49 | 49 | 49 | 49 | 49 | 49 | 294
IPPs:
Orient Power | 209 | 0 | 0 | 0 | 0 | 0 | 0 | 115 | 115 | 115 | 115 | 115 | 115 | 690
Engro | 216.8 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 110 | 110 | 110 | 110 | 110 | 660
Saif Power | 209 | 0 | 0 | 0 | 0 | 0 | 0 | 115 | 115 | 115 | 115 | 115 | 115 | 690
Sub-Total | 795.8 | 0 | 0 | 0 | 0 | 0 | 0 | 340 | 411 | 340 | 340 | 340 | 340 | 2040
RFO
RPPs:
RPP Techno Summandri Road | 150 | 2009-07-09: 0; 2009-08-09: 0; 2009-12-09: 66.96; 2010-01-09: 66.96 | 66.96 | 66.96 | 66.96 | 66.96 | 66.96 | 468.72
RPP Karkey Karandez | 231.8 | 0 | 0 | 0 | 0 | 0 |  | 103.1546 | 103.1546 | 103.1546 | 103.1546 | 103.1546 | 103.1546 | 618.9274
Ruba Energy | 155.55 | 0 | 0 | 0 | 0 | 0 | 0 | 67 | 67 | 67 | 67 | 67 | 67 | 402
Reshma Power | 201.3 | 0 | 0 | 0 | 0 | 0 | 0 | 87 | 87 | 87 | 87 | 87 | 87 | 522
IPPs:
Attock Gen. | 156.181 | 113.2174 | 106.9676 | 106.967 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 68 | 1091.152
Honda Atlas | 213.6 | 16.081 | 69.4845 | 19.8217 | 20 | 20 | 119 | 119 | 119 | 119 | 119 | 119 | 90 | 949.3872
Nishat Power | 195 | 2009-07-09: 0; 2009-08-09: 0; 2009-09-09: 0; 2010-01-09: 109 | 109 | 109 | 109 | 109 | 109 | 654
Sub-Total | 1303.431 | 129.2984 | 176.4521 | 126.7887 | 107 | 107 | 206 | 315 | 639.1146 | 315 | 315 | 315 | 267 | 2694.5393
Grand Total | 2099.231 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1050.1146 | #REF! | #REF! | #REF! | #REF! | #REF!

## Capacity Charge (hidden)
CAPACITY PURCHASE PRICE
|  |  |  | 2010-07-10 | 2010-08-10 | 2010-09-10 | 2010-10-10 | 2010-11-10 | 2010-12-10 | 2011-01-10 | 2011-02-10 | 2011-03-10 | 2011-04-10 | 2011-05-10 | 2011-06-10 | TOTAL
1 | WAPDA Hydel | Hydel | 6444 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 32015338560
2 | Jagran | Hydel | 30 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Malakand |  | 81.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sub Total |  | 6555.46 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 2667944880 | 32015338560
GENCOs
1 | GENCO-I |  |  | 286648165 | 286648165 | 286648165 | 296193548.8945 | 296193548.8945 | 296193548.8945 | 306056794.0727 | 306056794.0727 | 306056794.0727 | 306056794.0727 | 316248485.3153 | 316248485.3153 | 3605249288.6049
2 | GENCO-II |  |  | 236338060 | 264868520 | 264868520 | 273688641.716 | 273688641.716 | 273688641.716 | 282802473.4851 | 282802473.4851 | 282802473.4851 | 282802473.4851 | 292219795.8522 | 292219795.8522 | 3302790510.793
3 | GENCO-III |  | 1905.12 | 501504391 | 506648842 | 506648842 | 523520248.4386 | 523520248.4386 | 523520248.4386 | 540953472.7116 | 540953472.7116 | 540953472.7116 | 540953472.7116 | 558967223.3529 | 558967223.3529 | 6367111157.868
| GENCO-IV |  | 24 | 20570578 | 20570578 | 20570578 | 21255578.2474 | 21255578.2474 | 21255578.2474 | 21963389.003 | 21963389.003 | 21963389.003 | 21963389.003 | 22694769.8568 | 22694769.8568 | 258721564.468
GENCO's Total |  |  | 1905.12 | 1045061194 | 1078736105 | 1078736105 | 1114658017.2965 | 1114658017.2965 | 1114658017.2965 | 1151776129.2725 | 1151776129.2725 | 1151776129.2725 | 1151776129.2725 | 1190130274.3772 | 1190130274.3772 | 13533872521.7339
IPPs
1 | KAPCO |  | 1336 | 1217174548 | 1217174548 | 1217174548 | 1257706460.4484 | 1257706460.4484 | 1257706460.4484 | 1299588085.5813 | 1299588085.5813 | 1299588085.5813 | 1342864368.8312 | 1342864368.8312 | 1342864368.8312 | 15352000388.5828
2 | HUBCO | RFO | 1200 | 875251552 | 880248666 | 880248666 | 909560946.5778 | 909560946.5778 | 909560946.5778 | 939849326.0988 | 939849326.0988 | 939849326.0988 | 971146308.6579 | 971146308.6579 | 971146308.6579 | 11097418628.0037
3 | KEL | RFO | 124 | 69118923 | 69118923 | 69118923 | 71420583.1359 | 71420583.1359 | 71420583.1359 | 73798888.5543 | 73798888.5543 | 73798888.5543 | 76256391.5432 | 76256391.5432 | 76256391.5432 | 871784358.7002
4 | AES LALPIR | RFO | 348 | 325005580 | 41936204 | 325005580 | 335828265.814 | 335828265.814 | 335828265.814 | 347011347.0656 | 347011347.0656 | 347011347.0656 | 358566824.9229 | 358566824.9229 | 358566824.9229 | 3816166677.4075
5 | AES PAKGEN | RFO | 348 | 330365035 | 42627746 | 330365035 | 341366190.6655 | 341366190.6655 | 341366190.6655 | 352733684.8147 | 352733684.8147 | 352733684.8147 | 364479716.519 | 364479716.519 | 364479716.519 | 3879096591.9974
6 | SEPCOL | RFO | 125.55 | 129056126 | 129056126 | 129056126 | 133353694.9958 | 133353694.9958 | 133353694.9958 | 137794373.0392 | 137794373.0392 | 137794373.0392 | 142382925.6614 | 142382925.6614 | 142382925.6614 | 1627761359.089
7 | HCPCL | Gas | 551.25 | 114594950 | 114594950 | 114594950 | 118410961.835 | 118410961.835 | 118410961.835 | 122354046.8641 | 122354046.8641 | 122354046.8641 | 126428436.6247 | 126428436.6247 | 126428436.6247 | 1445365185.9714
8 | FKPCL | Gas | 151.2 | 205889870 | 192606653 | 192606653 | 199020454.5449 | 199020454.5449 | 199020454.5449 | 205647835.6812 | 205647835.6812 | 205647835.6812 | 212495908.6094 | 212495908.6094 | 212495908.6094 | 2442595772.5067
9 | ROUSCH | Gas | 395 | 447460915 | 447460915 | 447460915 | 462361363.4695 | 462361363.4695 | 462361363.4695 | 477757996.873 | 477757996.873 | 477757996.873 | 493667338.1689 | 493667338.1689 | 493667338.1689 | 5643742840.5343
10 | SABA | RFO | 65 | 116003818 | 116003818 | 116003818 | 119866745.1394 | 119866745.1394 | 119866745.1394 | 123858307.7525 | 123858307.7525 | 123858307.7525 | 127982789.4007 | 127982789.4007 | 127982789.4007 | 1463134980.8779
11 | JAPAN | RFO | 119.46 | 38447094 | 38447094 | 38447094 | 39727382.2302 | 39727382.2302 | 39727382.2302 | 41050304.0585 | 41050304.0585 | 41050304.0585 | 42417279.1836 | 42417279.1836 | 42417279.1836 | 484926178.4168
12 | UCH | Gas | 129.15 | 799250705 | 799250705 | 799250705 | 825865753.4765 | 825865753.4765 | 825865753.4765 | 853367083.0673 | 853367083.0673 | 853367083.0673 | 881784206.9334 | 881784206.9334 | 881784206.9334 | 10080803245.4315
13 | ALTERN | Gas | 26.4 | 37425205 | 40225745 | 40225745 | 41565262.3085 | 41565262.3085 | 41565262.3085 | 42949385.5434 | 42949385.5434 | 42949385.5434 | 44379600.082 | 44379600.082 | 44379600.082 | 504559438.8015
14 | LIBERTY | Gas | 213.06 | 306786899 | 306617838 | 306617838 | 316828212.0054 | 316828212.0054 | 316828212.0054 | 327378591.4652 | 327378591.4652 | 327378591.4652 | 338280298.561 | 338280298.561 | 338280298.561 | 3867483881.0946
15 | CHASNUPP | Nucl. | 300 | 701679000 | 712382297 | 712382297 | 736104627.4901 | 736104627.4901 | 736104627.4901 | 760616911.5855 | 760616911.5855 | 760616911.5855 | 785945454.7413 | 785945454.7413 | 785945454.7413 | 8974444575.4508
16 | *IRAN | RFO | 96 | 2010-07-10: 0; 2010-08-10: 0
| Sub Total |  | 5528.07 | 5713510220 | 5147752228 | 5718558893 | 5908986904.1369 | 5908986904.1369 | 5908986904.1369 | 6105756168.0447 | 6105756168.0447 | 6105756168.0447 | 6309077848.4405 | 6309077848.4405 | 6309077848.4405 | 71551284102.8663
1 | Attock Gen | RFO | 156.181 | 265822339 | 250881454 | 239813114.242 | 247798890.9463 | 247798890.9463 | 247798890.9463 | 256050594.0148 | 256050594.0148 | 256050594.0148 | 264577078.7955 | 264577078.7955 | 264577078.7955 | 3061796598.5115
2 | Atlas Power | RFO | 213.856 | 393584336 | 383173055 | 384526560.928 | 397331295.4069 | 397331295.4069 | 397331295.4069 | 410562427.544 | 410562427.544 | 410562427.544 | 424234156.3812 | 424234156.3812 | 424234156.3812 | 4857667589.9241
3 | Nishat Power | RFO | 195.305 | 238862574 | 232763545 | 280868120.5 | 290221028.9126 | 290221028.9126 | 290221028.9126 | 299885389.1754 | 299885389.1754 | 299885389.1754 | 309871572.635 | 309871572.635 | 309871572.635 | 3452428211.6692
4 | Foundation Power | Gas | 177 | 0 | 0 | 0 | 0 | 0 | 314949375 | 325437189.1875 | 325437189.1875 | 325437189.1875 | 336274247.5874 | 336274247.5874 | 336274247.5874 | 2300083685.3248
5 | Orient | Gas | 209 | 210743428 | 223858435 | 350911000 | 362596336.3 | 362596336.3 | 362596336.3 | 374670794.2988 | 374670794.2988 | 374670794.2988 | 387147331.7489 | 387147331.7489 | 387147331.7489 | 4158756250.0432
6 | Nishat Chunian | RFO | 195.26 | 191294838 | 290949542 | 280868120.5 | 290221028.9126 | 290221028.9126 | 290221028.9126 | 299885389.1754 | 299885389.1754 | 299885389.1754 | 309871572.635 | 309871572.635 | 309871572.635 | 3463046472.6692
7 | Saif Power | Gas | 209.786 | 339171472 | 323069844 | 352230694 | 363959976.1102 | 363959976.1102 | 363959976.1102 | 376079843.3147 | 376079843.3147 | 376079843.3147 | 388603302.097 | 388603302.097 | 388603302.097 | 4400401374.5658
8 | Engro Energy | Gas | 217.298 | 185229682 | 155945041 | 269666818 | 278646723.0394 | 278646723.0394 | 278646723.0394 | 287925658.9166 | 287925658.9166 | 287925658.9166 | 297513583.3585 | 297513583.3585 | 297513583.3585 | 3203099436.9436
9 | Sapphire Power | Gas | 209 | 0 | 0 | 0 | 0 | 371889375 | 371889375 | 384273291.1875 | 384273291.1875 | 384273291.1875 | 397069591.784 | 397069591.784 | 397069591.784 | 3087807398.9146
Sub Total |  |  | 1782.686 | 1824708669 | 1860640916 | 2158884428.17 | 2230775279.6281 | 2602664654.6281 | 2917614029.6281 | 3014770576.8147 | 3014770576.8147 | 3014770576.8147 | 3115162437.0226 | 3115162437.0226 | 3115162437.0226 | 31985087018.566
IPP's Total:- |  |  |  | 7538218889 | 7008393144 | 7877443321.17 | 8139762183.765 | 8511651558.765 | 8826600933.765 | 9120526744.8593 | 9120526744.8593 | 9120526744.8593 | 9424240285.4632 | 9424240285.4632 | 9424240285.4632 | 103536371121.432
Rental
1 | Gulf Rental | RFO | 62 | 2010-07-10: 0; 2010-08-10: 0; 2010-09-10: 0; 2010-10-10: 0; 2010-11-10: 0
2 | Techno-E | Gas | 60 | 2010-07-10: 0; 2010-08-10: 0; 2010-09-10: 0; 2010-10-10: 0; 2010-11-10: 0
| Sub Total |  | 122 | 2010-07-10: 0; 2010-08-10: 0; 2010-09-10: 0; 2010-10-10: 0; 2010-11-10: 0
| Grand Total |  | 10365.266 | 11251224963 | 10755074129 | 11624124306.17 | 11922365081.0615 | 12294254456.0615 | 12609203831.0615 | 12940247754.1318 | 12940247754.1318 | 12940247754.1318 | 13243961294.7356 | 13282315439.8404 | 13282315439.8404 | 149085582203.166
1445

## Gen. GWh PPP Form 8
NATIONAL ELECTRIC POWER REGULATORY AUTHORITY (NEPRA) | [13 empty] | Form # - PPP 8
LAST THREE YEARS ACTUAL GENERATION IN GWhs
FY ______________
The actual generation data of last three years is compiled on the below format for each year to perform comparison with the projection
GWh
Power Producer | Fuel | Assumptions | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
Hydroelectric | Hydel
Tarbela | Hydel
Mangla | Hydel
Warsak | Hydel
Chashma | Hydel
Ghazi Brotha | Hydel
Jagran Hydel | Hydel
Malakund-III SHYDO | Hydel
Pehur | Hydel
Khan Khawar | Hydel
Gomal Zam Dam, | Hydel | Click here
Laraib | Hydel
Satpara Dam | Hydel
Duber Khwar | Hydel
Allai Khwar | Hydel
Jihhah Hydropower | Hydel
Hydel Total
|  |  | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
Ex-WAPDA GENCOs
GENCO-1
Jamshoro Block 1 | F.O. | Click here
Unit 1 | Gas
Jamshoro Block 2 | F.O.
Unit 2-4 | Gas
Jamshoro Block 3 | F.O.
Kotry 3-7 | Gas
Jamshoro Block 4 | F.O.
Kotry 1-2 | Gas
Jamshoro Total
GENCO-II |  |  | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
Central Block 1 | F.O. | Click here
Guddu CC 11-13 | Gas
Central Block 2 | F.O.
Guddu CC 5-10 | Gas
Central Block 3 | F.O.
Guddu Steam 3-4 | Gas
Central Block 4 | F.O.
Guddu Steam 1-2 | Gas
Central Total
GENCO-III
Northern Block 1 | F.O. | Click here
MG Unit 1-3 | Gas
Northern Block 2 | F.O.
MG Unit 4 | Gas
Northern Block 3 | F.O.
MG Unit 5-6 | Gas
Northern Block 4 | F.O.
GTPS FSD 5-9 | Gas
HSD
Northern Block 5 | F.O.
SPS FSD 1-2 | Gas
Northern Block 6 | HSD
GTPS FSD 1-4 | Gas
HSD
Northern Block 7 | F.O.
NGPS Multan 1-4 | Gas
Northern Block 8 | F.O.
Northern Toal
GENCO IV |  |  | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
Lakhra Power | Coal | Click here
GENCO IV TOTAL
GENCOs Total
IPPs |  |  | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
Kot Addu Block 1 | F.O. | Click here
Gas
HSD
Kot Addu Block 2 | F.O.
Gas
HSD
Kot Addu Block 3 | Gas
HSD
Kot Addu Total
Hub Power | F.O. | Click here
Kohinoor Energy | F.O.
AES Lalpir | F.O.
AES Pakgen | F.O.
Southern Power | F.O.
Habibullah | Gas
Fauji Kabirwala | Gas
Rousch | Gas
Saba Power | F.O.
Japan Power | F.O.
Uch | Gas
Altern | Gas
Liberty | Gas
F.O.
Chashma Nuclear | Nuclear
Chashma Nuclear-II | Nuclear
Tavanir Iran | Import
Attock Gen. | F.O.
Atlas Power | F.O.
Nishat Power | F.O.
Foundation | Gas
Orient Power | Gas
HSD
Nishat Chunia | F.O.
Saif Power | Gas
HSD
Engro | Gas
Sapphire Power | Gas
HSD
Hallmore | Gas
HSD
Hubco Narowal | F.O.
IPPs Total
Others |  |  | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
TPS-Quetta | Gas | Click here
TPS-Shahdara | Gas
SPPs | Mixed
Zorlu | Wind
Others Total
Grand Total
Hydel |  |  | Capacity MW | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
Coal
HSD
F.O.
Gas
Nuclear
Mixed
Import from Iran
Wind Power
Grand Total
NTDC Losses
Net Delivered
NTDC Losses %

## Energy Cost Form 9
NATIONAL ELECTRIC POWER REGULATORY AUTHORITY (NEPRA) | [7 empty] | Form # - PPP 9
LAST THREE YEARS ACTUAL COST IN Rs.
FY ______________
The actual cost of generation data of last three years is compiled on the below format for each year to perform comparison with the projection
Power Producer | Fuel | Assumptions | Total Generation in GWh | Energy Charge Fuel Rs./kWh | Energy Charge-VO&M Rs./kWh | Energy Charge fuel Rs.Million | Energy Charge-VO&M Rs.Million | Total Energy Charge Rs.Million | Average Fuel Charge Rs./kWh
Hydroelectric | Hydel
Tarbela | Hydel
Mangla | Hydel
Warsak | Hydel
Chashma | Hydel
Ghazi Brotha | Hydel
Jagran Hydel | Hydel
Malakund-III SHYDO | Hydel
Pehur | Hydel
Khan Khawar | Hydel
Gomal Zam Dam, | Hydel | Click here
Laraib | Hydel
Satpara Dam | Hydel
Duber Khwar | Hydel
Allai Khwar | Hydel
Jihhah Hydropower | Hydel
Hydel Total
Ex-WAPDA GENCOs
GENCO-1
Jamshoro Block 1 | F.O. | Click here
Unit 1 | Gas
Jamshoro Block 2 | F.O.
Unit 2-4 | Gas
Jamshoro Block 3 | F.O.
Kotry 3-7 | Gas
Jamshoro Block 4 | F.O.
Kotry 1-2 | Gas
Jamshoro Total
GENCO-II
Central Block 1 | F.O. | Click here
Guddu CC 11-13 | Gas
Central Block 2 | F.O.
Guddu CC 5-10 | Gas
Central Block 3 | F.O.
Guddu Steam 3-4 | Gas
Central Block 4 | F.O.
Guddu Steam 1-2 | Gas
Central Total
GENCO-III
Northern Block 1 | F.O. | Click here
MG Unit 1-3 | Gas
Northern Block 2 | F.O.
MG Unit 4 | Gas
Northern Block 3 | F.O.
MG Unit 5-6 | Gas
Northern Block 4 | F.O.
GTPS FSD 5-9 | Gas
HSD
Northern Block 5 | F.O.
SPS FSD 1-2 | Gas
Northern Block 6 | HSD
GTPS FSD 1-4 | Gas
HSD
Northern Block 7 | F.O.
NGPS Multan 1-4 | Gas
Northern Block 8 | F.O.
Northern Toal
GENCO IV
Lakhra Power | Coal | Click here
GENCO IV TOTAL
GENCOs Total
IPPs
Kot Addu Block 1 | F.O. | Click here
Gas
HSD
Kot Addu Block 2 | F.O.
Gas
HSD
Kot Addu Block 3 | Gas
HSD
Kot Addu Total
Hub Power | F.O. | Click here
Kohinoor Energy | F.O.
AES Lalpir | F.O.
AES Pakgen | F.O.
Southern Power | F.O.
Habibullah | Gas
Fauji Kabirwala | Gas
Rousch | Gas
Saba Power | F.O.
Japan Power | F.O.
Uch | Gas
Altern | Gas
Liberty | Gas
F.O.
Chashma Nuclear | Nuclear
Chashma Nuclear-II | Nuclear
Tavanir Iran | Import
Attock Gen. | F.O.
Atlas Power | F.O.
Nishat Power | F.O.
Foundation | Gas
Orient Power | Gas
HSD
Nishat Chunia | F.O.
Saif Power | Gas
HSD
Engro | Gas
Sapphire Power | Gas
HSD
Hallmore | Gas
HSD
Hubco Narowal | F.O.
IPPs Total
Others
TPS-Quetta | Gas | Click here
TPS-Shahdara | Gas
SPPs | Mixed
Zorlu | Wind
Others Total
Grand Total
Hydel
Coal
HSD
F.O.
Gas
Nuclear
Mixed
Import from Iran
Wind Power
Grand Total

## DISCO PPP Form 10
NATIONAL ELECTRIC POWER REGULATORY AUTHORITY (NEPRA) | [11 empty] | Form # - PPP 10
PROJECTION OF PPP FOR Distribution Companies
FY ___________
Energy Sold - GWh
Name | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
IESCO
LESCO
GEPCO
FESCO
MEPCO
PESCO
TESCO
HESCO
QESCO
SEPCO
KESC
Total
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
Maximum Demand in MW
Name | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
IESCO
LESCO
GEPCO
FESCO
MEPCO
PESCO
TESCO
HESCO
QESCO
SEPCO
KESC
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Load Factor
Name | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Total
IESCO
LESCO
GEPCO
FESCO
MEPCO
PESCO
TESCO
HESCO
QESCO
SEPCO
KESC
Total
Energy Purchase Price | [12 empty] | Rs./kWh
Name | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Average
IESCO
LESCO
GEPCO
FESCO
MEPCO
PESCO
TESCO
HESCO
QESCO
SEPCO
KESC
Total
Capacity Purchase Price | [12 empty] | Rs./kWh
Name | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Average
IESCO
LESCO
GEPCO
FESCO
MEPCO
PESCO
TESCO
HESCO
QESCO
SEPCO
KESC
Total
Transmission Charge (UOSC) | [12 empty] | Rs./kWh
Name | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
IESCO
LESCO
GEPCO
FESCO
MEPCO
PESCO
TESCO
HESCO
QESCO
SEPCO
KESC
Total