List of Issues

framed for the Public Hearing in the matter of the Authority Proposed Modification in the Generation Licence of Northern Power Generation Company Limited NPGCL/GENCO-III for GTPS Faisalabad.

- Whether the operation of Unit 1-9 of GTPS Faisalabad is justified after useful life which expired on June 30, 2012 and in absence of extension in the term of Licence (for the said units) as envisaged in Rule 5(2) of the NEPRA Licensing (Generation) Rules, 2000 (the Rules)?

- Why did the licensee (NPGCL/GENCO-III) not apply for extension in the useful life of these units if it considers that these plants can be operated for a further period?

- Due to non availability of Natural Gas, Unit 1-9 of GTPS Faisalabad are operated using High Speed Diesel (HSD) and their efficiency has reportedly dropped to 24% (against 27.6%). Due to operation on expensive alternate fuel and very low efficiency, per unit generation cost of these units is very high and these units are ranked at the bottom of merit order. In view of the said, is generation from these units economically viable and in the interest of consumers?

- The utilization factor of these units has been 2.59%, 1.93%, and 10.69% for the FY-2011-12, FY-2012-13, and FY-2013-14 respectively, which is very low. Does retaining these units with such low utilization factor merit?

- According to the State of Industry Report 2015, various units of GENCO-III have remained off-bar since long due to their poor efficiency levels. The overall net efficiency of GENCO-III is also very low at 24.84%. Furthermore, due to various maintenance issues, forced outages and fuel constraints etc. resulting in annual capacity utilization of 38.44%. Whether the overall performance of GENCO-III is satisfactory in terms of aforementioned reasons/constraints?

- Has NPGCL/GENCO-III taken any measures to rehabilitate these units and to make their operation economically viable? What will be the effect of the planned rehabilitation (if any), in terms of efficiency, unit cost and lives of the units?

- What has been the impact of the import of RLNG on operation of these units? Is allocation of precious resource (RLNG) to these low efficient units justified whereas power plants with higher efficiency are suffering from fuel constraints?